Model Policy #2

<insert name of laboratory>

Power Outage and Surge Protection Policy

The facility has an UPS but does not have surge protection. To ensure patient safety, the EDX procedure should be suspended during a power outage or electrical storm in the immediate vicinity of the facility.  All electrodes should be removed from the patient or the electrode wires should be unplugged from the pre-amp and should not be reapplied until the power outage is over and power is restored or the electrical storm has passed. After the power is reinstated or the electrical storm has passed the EDX equipment may be turned back on and the study continued.

Date: ___________________

_______________________________________

Laboratory Medical Director