Model Policy #4

<insert name of laboratory>

Power Outage and Surge Protection Policy 
The facility does not have an UPS but does have surge protection. To ensure patient safety, the patient should be disconnected from the EDX equipment and then the equipment should be turned off and unplugged.  This is necessary to prevent circuit overload situations as power is restored.  If possible, all EDX data should be saved before unplugging the EDX equipment. After the power is reinstated or the electrical storm has passed the EDX equipment can be turned back on and the study continued. 

Date: ___________________

_______________________________________

     Laboratory Medical Director  
